## Load Calculator
Solar Load Calculator
Primary Load |  |  |  | More than 4 hours a day
Sr | Item | Watts | Quantity | Total Watts | Summary
1 | LED Bulb | 10 |  | 0 | Description | Power | Power | No. of Panels | Inverter
2 | Energy Saver Bulb | 25 |  | 0 |  | in Watts | in KW | 550 | KW
3 | Fans | 100 |  | 0 | Primary Load | 0 | 0 | 0 | 0
4 | DC Interver Fans | 40 |  | 0 | Secondary Load | 0 | 0 | 0 | 0
5 | Fridge / Freezer | 350 |  | 0 | Maximum Load | 0 | 0 | 0 | 0
6 | AC - Split 1.5 ton | 2400 |  | 0 | Optimum Load (¼ Secondary) | 0 | 0 | 0 | 0
7 | AC - Inverter 1.5 ton | 1500 |  | 0
8 | Laptop / Computer | 250 |  | 0
9 | Other |  |  | 0
10 | Other |  |  | 0
| Total Primary Load |  |  | 0
Secondary Load |  |  |  | Less than 1 hour a day
1 | Washing Machine | 800 |  | 0
2 | Water Moter Pump | 800 |  | 0
3 | TV | 250 |  | 0
4 | LED TV 32" | 50 |  | 0
5 | Iron | 1000 |  | 0
6 | Electric Oven | 4000 |  | 0
7 | Microwave Oven | 800 |  | 0
8 | Instant Geyser Electric | 1500 |  | 0
9 | Electric Heater | 800 |  | 0
10 | Sandwich Maker | 700 |  | 0
11 | Tea / Coffee Kettle | 1500 |  | 0
12 | Juicer / Grinder | 600 |  | 0
13 | Other
14 | Other
| Total Secondary Load |  |  | 0

## Units to KW Calculator
Units to KW Calculator |  |  | Summary
Sr | Month | Units | Power Load | Units | Avg Units | Hours | Load | Panels | Inverter
|  | in KWH | Monthly | Monthly | Daily | Avg Sun Time | in KW | 550 | KW
1 | 2024-01-01 | 160 | Max Units | 530 | 17.6667 | 4 | 4.4167 | 9 | 5
2 | 2024-02-01 | 200 | Average Units | 250.8333 | 8.3611 | 4 | 2.0903 | 4 | 3
3 | 2024-03-01 | 160 | Min Units | 110 | 3.6667 | 4 | 0.91667 | 2 | 1
4 | 2024-04-01 | 170
5 | 2024-05-01 | 240 | [6 empty] | 530 | Max
6 | 2024-06-01 | 380
7 | 2024-07-01 | 400
8 | 2024-08-01 | 530 | [6 empty] | 250.8333 | Avg
9 | 2024-09-01 | 370
10 | 2024-10-01 | 170
11 | 2024-11-01 | 120 | [6 empty] | 110 | Min
12 | 2024-12-01 | 110
Total |  | 3010

## Amp to Watt Calculator
Amperes to Watts Calcuator
Formula
| Amps | x | Volts | = | Watts
DIY
| 10 | x | 220 | = | 2200
|  |  | 2.2 | KW

## Cost Calculator
Solar Cost Calculator
Sr | Item | Description | Quantity | Kilo Watts | Rate | Amount
1 | Solar Panels |  | 4 | 2.0903 | 35 | 73159.7222 | Rate is offered Per Watt
2 | Structure | L3 or Customized | 1 |  |  | 0
3 | Inverter |  | 1 | 3 |  | 0
4 | Battery |  | 1 |  |  | 0
5 | Green Meter |  | 1 |  | 150000 | 150000
6 | Main DB |  | 1
7 | Breakers, Ch. Over |  | 1
8 | Cables & Ducts |  |  |  |  | 0
9 | Installation & Commisioning
10 | Civil Work
11 | Transportation
12 | Earthing |  |  |  |  | 0
13 | Lightening Arrestor |  |  |  |  | 0
14 | Miscelleneus |  |  |  |  | 0
| Total Cost |  |  |  |  | 223159.7222

## Credits
Siddique ur Rahman Khurram
Digitalization and Transformation of Capital Markets ¦ Blockchain Implementor Project Management ¦ Design Thinking ¦ AI ¦ UI/UX
https://www.youtube.com/srkhurram
https://www.facebook.com/ThinkAga1n
https://www.linkedin.com/in/srkhurram
https://x.com/srkhurram
https://www.tiktok.com/@srkhurram
https://creative-club.net/
https://financialliteracy.pk/